BasicAirData – Air Data Computer

Communication Protocol - Common Message Set
Attention, this is a work in progress version
Draft Version 0.3 – 11th May 2017
Draft Version 0.2 – 26th April 2017
Draft Version 0.1 – 4th January 2017

Legend for the table colors. Green, implemented. Yellow partially completed. Red not implemented. Blue work in progress.

ID	Field String	Field Name	Description
0	HBQ	HEARTBEAT_REQ	Check if the system is present and responding
1	HBA	HEARTBEAT_ASSERT	Answer about the system presence

2	TMS	TIME_SET	Set date and time of the ADC
3	TMQ	TIME_REQ	Ask for date and time
4	TMA	TIME_ASSERT	The Datetime

5	STS	STATUS_SET	Set the status
6	STQ	STATUS_REQ	Ask for ADC configuration status
7	STA	STATUS_ASSERT	The Status

8	DTS	DATA_SET	Set the status and save the config to SD
9	DTQ	DATA_REQ	Ask for the ADC sensors data
10	DTA	DATA_ASSERT	The Sensors data

11	SFS	STATUS_FREQ_SET	Set the ADC to send the Status at the specified frequency
12	SFQ	STATUS_FREQ_REQ	Ask for the ADC Status Frequency
13	SFA	STATUS_FREQ_ASSERT	The Status Frequency

14	DFS	DATA_FREQ_SET	Set the ADC to send the Data at the specified frequency
15	DFQ	DATA_FREQ_REQ	Ask for the ADC Data Frequency
16	DFA	DATA_FREQ_ASSERT	The Data Frequency

17	LFQ	LOG_FILE_MANAGER	Manage Log Files
18	LFA	LOG_FILE_ASSERT	Log file data

Every message string will begin with a “$” character and will end with a “\n” (newline).
# 0 – HBQ – HEARTBEAT_REQ
The heartbeat message ask if a system is present and responding.
The remote system will respond with a HEARTBEAT_ASSERT (#1).

0	Field String	$HBQ
1	description	The description of the requesting device
2	firmware_version	The version of the communication protocol

Example:
$HBQ,StatusVisualizer,1

# 1 – HBA – HEARTBEAT_ASSERT
The heartbeat message answer if a system is present and responding.
This message is typically the answer of a HEARTBEAT_REQ (#0).

0	Field String	$HBA
1	description	The description of the responding device
2	firmware_version	The version of the communication protocol

Example:
$HBA,Amaranth,1

# 2 – TMS – TIME_SET
The request to set the remote datetime.
The remote system will respond with a TIME_ASSERT (#4).

0	Field String	$TMS
1	Time as seconds since Jan 1, 1970	Long Integer, seconds

Example:
$TMS,1493151334

# 3 – TMQ – TIME_REQ
Ask for the remote datetime.
The remote system will respond with a TIME_ASSERT (#4).

0	Field String	$TMQ

Example:
$TMQ

# 4 – TMA – TIME_ASSERT
The message contains the current datetime of the device.

0	Field String	$TMA
1	Time as seconds since Jan 1, 1970	Long Integer, seconds

Example:
$TMA,1493151334

# 5 – STS – STATUS_SET
The request to set the status of the remote device.
The remote system will respond with a STATUS_ASSERT (#7).

0	Field String	$STS
1	SD card present	1 Present. 0 Not present. E=error code
2	Deltap sensor	1 Present. 0 Not present. E=error code
3	Absolute pressure sensor	1 Present. 0 Not present. E=error code
4	External Temperaure sensor	1 Present. 0 Not present. E=error code
5	Deltap sensor temperature	1 Present. 0 Not present. E=error code
6	Absolute pressure sensor temperature	1 Present. 0 Not present. E=error code
7	Real time clock battery	1 Present. 0 Not present.
8	Error/Warning	That should be a code handled directly by firmware. Exception handling is not implemented. / “SDLOW” This is a warning
9	BT Present	1 Present. 0 Not present. E=error code (BT module hooked to Serial1)

Example:
$STS,1,1,1,1,1,1,1,N,1

# 6 – STQ – STATUS_REQ
Ask for the remote status.
The remote system will respond with a STATUS_ASSERT (#7).

0	Field String	$STQ

Example:
$STQ

# 7 – STA – STATUS_ASSERT
The message contains the current status of the device.

0	Field String	$STA
1	SD card present	1 Present. 0 Not present. E=error code. N not set.
2	Deltap sensor	1 Present. 0 Not present. E=error code. N not set.
3	Absolute pressure sensor	1 Present. 0 Not present. E=error code. N not set.
4	External Temperaure sensor	1 Present. 0 Not present. E=error code. N not set.
5	Deltap sensor temperature	1 Present. 0 Not present. E=error code. N not set.
6	Absolute pressure sensor temperature	1 Present. 0 Not present. E=error code
7	Real time clock battery	1 Present. 0 Not present.
8	Error/Warning	That should be a code handled directly by firmware. Exception handling is not implemented. / “SDLOW” This is a warning
9	BT Present	1 Present. 0 Not present. E=error code (BT module hooked to Serial1)

Example:
$STA,1,1,1,1,1,1,1,,0
All the sensors, SD card, real time clock battery are present and operational, no errors are reported.

$STA,1,1,0,1,1,1,0,SDLOW,1

All the sensors except external temperature, and SD card are present. SD card space shortage is reported.

# 8 – DTS – DATA_SET
The request to set the data of the remote device. Configuration data will be saved to the SD card(config.csv file),
The remote system will respond with a DATA_ASSERT (#10). [Note. How to decide what #10 message should include? The reply #10 will contain no data at all “$DTA”. It’ a simple acknowledge]

0	Field String	$DTS
1	SD card present	1 Present. 0 Not present.
2	Deltap sensor	1 Present. 0 Not present.
3	Absolute pressure sensor	1 Present. 0 Not present.
4	External temperaure sensor	1 Present. 0 Not present.
5	Deltap sensor temperature	1 Present. 0 Not present.
6	Absolute pressure sensor temperature	1 Present. 0 Not present.
7	Real time clock battery	1 Present. 0 Not present.

Example:
$DTS,1,1,1,1,1,1,1
Full configuration installed
$DTS,1,1,0,1,1,1,1
Everything installed but the absolute pressure sensor.

# 9 – DTQ – DATA_REQ
Ask for the remote data. Selects the required data with the fields value. If a 0 is sent at the position i then the ADC will send a #10 reply with the field i not valued. If a 1 is sent at the position i then the ADC will send a #10 reply with the field i valued.

The remote system will respond with a DATA_ASSERT (#10).

i	Field String	$DTQ
1-24	Select	0 if data field not required. 1 if data field required

Example:
Request all the data fields of #10
$DTQ,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1
Request all the data fields except Deltap and Ext Temperature
$DTQ,1,0,1,0,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1,1

# 10 – DTA – DATA_ASSERT

Data lengths shown in the table below are variable and conservative. The ADC will respond to a #9 message with a DTA – DATA_ASSERT that contains only the data fields that have been marked with 1 within the #9 message.

i	Field String	$DTA
1	Timestamp see msg #4	Time as seconds since Jan 1, 1970
2	Deltap [Sensor units, counts]	6 Chars, integer. Sensor dependent.
3	Absolute Pressure [Sensor units, counts]	6 Chars, integer. Sensor dependent
4	Ext Temperature [Sensor units, counts]	5 Chars, integer. Sensor dependent
5	Temp deltap [Sensor units, counts]	5 Chars, integer. Sensor dependent
6	Temp absolute [Sensor units, counts]	5 Chars, integer. Sensor dependent
7	Deltap [Pa]	8 Chars, 2 decimal digit
8	Absolute Pressure [Pa]	8 Chars, 1 decimal digit
9	Ext Temperature [K]	5 Chars, 1 decimal digit
10	Temp deltap [K]	5 Chars, 1 decimal digit
11	Temp absolute [K]	5 Chars, 1 decimal digit
12	IAS [m/s]	6 Chars, 2 decimal digit
13	TAS [m/s]	6 Chars, 2 decimal digit
14	Altitude [m]	7 Chars, 2 decimal digit
15	OAT [K]	5 Chars, 1 decimal digit
16	Relative time micro millis [s*10^-6]	5 Chars, integer
17	Uncertainty IAS [m/s]	3 Chars, 1 decimal digit
18	Uncertainty TAS [m/s]	3 Chars, 1 decimal digit
19	Uncertainty Altitude [m]	3 Chars, 1 decimal digit
20	Uncertainty OAT [K]	3 Chars, 1 decimal digit
21	Air Density [kg/m^3]	8 Chars,6 decimal digit
22	Air Viscosity[Pas*10^-6]	8 Chars,6 decimal digit
23	Re	8 Chars,1 decimal digit
24	c factor	6 Chars,4 decimal digit

Example:
$DTA,1493151334,6608,******,******,*****,*****,*****,472.60,100926.1,15.0,18.3,18.6,27.77,27.77,63.1,15.0,1244,0.4,0.7,1.1,0.3,1.225000,18.396057,15081.1,0.9977

# 11 – SFS – STATUS_FREQ_SET
The request to set the frequency rate of the remote status messages.
The remote system will respond with a STATUS_FREQ_ASSERT (#13).

0	Field String	$SFS
1	frequency	The requested frequency rate (messages per second)

Example: (set the frequency to 2 Hz)
$SFS,2

# 12 – SFQ – STATUS_FREQ_REQ
Query the frequency rate of the remote status messages.
The remote system will respond with a STATUS_FREQ_ASSERT (#13).

0	Field String	$SFQ

Example:
$SFQ

# 13 – SFA – STATUS_FREQ_ASSERT
The message contains the current frequency rate of the status messages.

0	Field String	$SFA
1	frequency	The current frequency rate (messages per second)

Example: (2 Hz)
$SFA,2

# 14 – DFS – DATA_FREQ_SET
The request to set the frequency rate of the remote data messages.
The remote system will respond with a DATA_FREQ_ASSERT (#16).

0	Field String	$DFS
1	frequency	The requested frequency rate (messages per second)

Example: (set the frequency to 20 Hz)
$DFS,20

# 15 – DFQ – DATA_FREQ_REQ
Query the frequency rate of the remote data messages.
The remote system will respond with a DATA_FREQ_ASSERT (#16).

0	Field String	$DFQ

Example:
$DFQ

# 16 – DFA – DATA_FREQ_ASSERT
The message contains the current frequency rate of the data messages.

0	Field String	$DFA
1	frequency	The current frequency rate (messages per second)

Example: (20 Hz)
$DFA,20

# 17 – LFQ – LOG_MANAGER
Manage Log Files on SD card.

0	Field String	$LFQ
1	Command	FILE_LIST = 1 NEW_FILE = 2 DEL_FILE = 3 FILE_PROPERTIES = 4 / FILE_DUMP = 5
2	Operation parameter	Filename, if file list is selected is left void

Example LFQ,1,, Get the list of file currently on the SD root directory.
LFQ, 2, pippo Creates pippo file.
LFQ, 3, pluto Deletes pluto file.
LFQ, 4, paperino gets paperino’s file properties.
LFQ, 5, pagnotta Dumps pagnotta file content.

# 18 – LFA – LOG_FILE_ASSERT

Data from log file. Payload depends on #17 LFQ Message

In reply to msg #17 FILE_LIST = 1
Number of fields is equal to the number of files present on the SD card.

0	Field String	$LFA
1	Field1	Filename1
2	Field2	Filename2
3	Field3	Filename3
…	…	…
4	Fieldn	Filenamen

$LFA,pippo,pluto,paperino,pagnotta

In reply to msg #17 NEW_FILE = 2
Acknowledge the creation of a new file.

0	Field String	$LFA
1	File name	The name of the newly created file

$LFA,pippo

In reply to msg #17 DEL_FILE = 3
Acknowledge the deletion of specified file.

0	Field String	$LFA
1	File name	The name of the file

$LFA,pluto

In reply to msg #17 FILE_PROPERTIES = 4
Returns the dimension and the timestamp of the specified file.

0	Field String	$LFA
1	Name	The name of the file
2	Size	Size in bytes of specified file

$LFA,pluto,256

In reply to msg #17 FILE_DUMP = 5
Returns the log file contents line by line. Message is ended with a special $EOF sequence

0	Field String	$LFA
1	1st line	The file first line
2	2nd line	The file second line
…	…	…
k	kth line	The last line of file
K+2	End of File Marker	$EOF

$LFA,This is the first line
Second line
…
Last line$EOF